## Threat Inventory
Supplementary Table S1 – Complete Threat Inventory
IEC 60870-5-104 Threats
Threat ID | Threat Description | Affected Asset/Process | Communication Path | Trust Boundary | STRIDE Category | ATT&CK Mapping | CVSS Vector | CVSS Score | Likelihood | Impact | Risk-Matrix Score | Priority Class | Operational Concern | Validation Status
T-I-001 | Absence of mutual authentication enables IP spoofing | CONTROL Server / RTU | CONTROL ↔ DSS RTU | WAN Boundary | Spoofing | T0849 Masquerading | AV:N/AC:L/PR:N/UI:N/S:U/C:N/I:H/A:L | 7.3 | 4 | 4 | 16 | High | Unauthorized supervisory communication | Not Validated
T-I-002 | Replay of IEC104 control messages | IEC104 supervisory control | CONTROL ↔ RTU | WAN Boundary | Tampering | T0831 Manipulation of Control | AV:N/AC:L/PR:N/UI:N/S:U/C:L/I:H/A:L | 8.1 | 4 | 5 | 20 | High | False operational actions | Not Validated
T-I-003 | Clear-text transmission allows man-in-the-middle interception | IEC104 communication | CONTROL ↔ RTU | WAN Boundary | Information Disclosure | T0842 Network Sniffing | AV:A/AC:H/PR:N/UI:N/S:U/C:L/I:H/A:L | 6.8 | 3 | 3 | 9 | Medium | Disclosure of operational traffic | Not Validated
T-I-004 | Unauthorized command injection into RTU communication | RTU command handling | CONTROL ↔ RTU | CONTROL Boundary | Tampering | T0855 Unauthorized Command Message | AV:N/AC:L/PR:N/UI:N/S:C/C:L/I:H/A:H | 9.3 | 4 | 5 | 20 | High | Unauthorized breaker operation | Not Validated
T-I-005 | Passive sniffing of IEC104 telemetry | Supervisory telemetry | CONTROL ↔ RTU | WAN Boundary | Information Disclosure | T0842 Network Sniffing | AV:N/AC:L/PR:N/UI:N/S:U/C:H/I:N/A:N | 5.9 | 4 | 3 | 12 | Medium | Exposure of operational intelligence | Not Validated
T-I-006 | RTU impersonation using forged identities | RTU communication endpoint | External attacker → RTU | DSS Boundary | Spoofing | T0849 Masquerading | AV:N/AC:L/PR:N/UI:N/S:C/C:L/I:H/A:H | 9.1 | 4 | 5 | 20 | High | False control participation | Not Validated
T-I-007 | IEC104 session hijacking | IEC104 TCP sessions | CONTROL ↔ RTU | WAN Boundary | Elevation of Privilege | T0866 Exploitation for Privilege Escalation | AV:N/AC:L/PR:L/UI:N/S:C/C:H/I:H/A:H | 9.9 | 3 | 5 | 15 | Medium | Unauthorized session control | Not Validated
T-I-008 | TCP SYN flood against IEC104 service endpoint | CONTROL Server TCP/2404 | External attacker → CONTROL | CONTROL Boundary | Denial of Service | T0814 Denial of Service | AV:N/AC:L/PR:N/UI:N/S:U/C:N/I:N/A:H | 7.5 | 5 | 4 | 20 | High | Supervisory communication exhaustion | Validated
T-I-009 | Volumetric DoS targeting supervisory traffic | CONTROL network path | External attacker → CONTROL | WAN Boundary | Denial of Service | T0814 Denial of Service | AV:N/AC:L/PR:N/UI:N/S:U/C:N/I:N/A:H | 7.5 | 5 | 5 | 25 | Critical | Communication availability disruption | Validated
T-I-010 | Telemetry value modification in transit | Supervisory telemetry stream | CONTROL ↔ RTU | WAN Boundary | Tampering | T0836 Modify Parameter | AV:N/AC:L/PR:N/UI:N/S:C/C:L/I:H/A:L | 8.6 | 4 | 5 | 20 | High | False operational state representation | Not Validated
T-I-011 | Weak role-based access control enables privilege escalation | CONTROL Server | Operator interface → CONTROL | CONTROL Boundary | Elevation of Privilege | T0890 Exploitation of Remote Services | AV:N/AC:L/PR:L/UI:N/S:C/C:H/I:H/A:H | 9.9 | 4 | 5 | 20 | High | Administrative compromise | Not Validated
GOOSE Protocol Threats
Threat ID | Threat Description | Affected Asset/Process | Communication Path | Trust Boundary | STRIDE Category | ATT&CK Mapping | CVSS Vector | CVSS Score | Likelihood | Impact | Risk-Matrix Score | Priority Class | Operational Concern | Validation Status
T-G-001 | Absence of MAC authentication enables GOOSE spoofing | GOOSE subscribers | IED Publisher → DPSHMI | Substation Boundary | Spoofing | T0849 Masquerading | AV:A/AC:L/PR:N/UI:N/S:C/C:N/I:H/A:H | 9.3 | 5 | 5 | 25 | Critical | Forged operational events | Validated
T-G-002 | Replay of legitimate GOOSE event frames | GOOSE multicast traffic | IED → DPSHMI | Substation Boundary | Spoofing | T0831 Manipulation of Control | AV:A/AC:L/PR:N/UI:N/S:C/C:L/I:H/A:L | 8.6 | 4 | 5 | 20 | High | Repeated false state transitions | Not Validated
T-G-003 | Lack of integrity protection enables payload tampering | GOOSE frame payload | IED → DPSHMI | Process Bus Boundary | Tampering | T0836 Modify Parameter | AV:A/AC:H/PR:N/UI:N/S:C/C:N/I:H/A:H | 8.5 | 4 | 4 | 16 | High | Manipulated breaker state | Validated
T-G-004 | Forged breaker trip commands through malicious GOOSE frames | Protection communication | Attacker → DPSHMI | Process Bus Boundary | Elevation of Privilege | T0855 Unauthorized Command Message | AV:A/AC:L/PR:N/UI:N/S:C/C:L/I:H/A:H | 9.1 | 4 | 5 | 20 | High | Unauthorized tripping events | Not Validated
T-G-005 | Sequence number manipulation in GOOSE communication | GOOSE event sequencing | IED ↔ Subscriber | Process Bus Boundary | Tampering | T0836 Modify Parameter | AV:A/AC:L/PR:N/UI:N/S:C/C:L/I:H/A:L | 8.4 | 4 | 4 | 16 | High | State synchronization disruption | Not Validated
T-G-006 | Lack of encryption exposes operational intelligence | GOOSE multicast traffic | Process Bus | Process Bus Boundary | Information Disclosure | T0842 Network Sniffing | AV:A/AC:L/PR:N/UI:N/S:U/C:H/I:N/A:N | 6.1 | 4 | 3 | 12 | Medium | Exposure of protection logic | Not Validated
T-G-007 | Unauthorized multicast publisher insertion | GOOSE publisher trust | Attacker → Multicast Bus | Process Bus Boundary | Spoofing | T0849 Masquerading | AV:A/AC:L/PR:N/UI:N/S:C/C:L/I:H/A:H | 9 | 4 | 5 | 20 | High | Malicious operational events | Not Validated
T-G-008 | Multicast flooding overwhelms GOOSE subscribers | GOOSE multicast bus | Attacker → Process Bus | Process Bus Boundary | Denial of Service | T0814 Denial of Service | AV:A/AC:L/PR:N/UI:N/S:C/C:N/I:L/A:H | 8.3 | 5 | 4 | 20 | High | Subscriber communication exhaustion | Validated
T-G-009 | False Data Injection against breaker-state communication | DPSHMI state representation | Forged GOOSE → DPSHMI | Process Bus Boundary | Tampering | T0856 Spoof Reporting Message | AV:A/AC:L/PR:N/UI:N/S:C/C:L/I:H/A:L | 8.6 | 4 | 4 | 16 | High | Continuity-preserving state falsification | Validated
T-G-010 | Unauthorized event suppression through multicast interference | GOOSE event propagation | Process Bus | Process Bus Boundary | Denial of Service | T0814 Denial of Service | AV:A/AC:L/PR:N/UI:N/S:C/C:N/I:H/A:H | 9.3 | 5 | 5 | 25 | Critical | Protection-event loss | Not Validated
Sampled Values (SV) Threats
Threat ID | Threat Description | Affected Asset/Process | Communication Path | Trust Boundary | STRIDE Category | ATT&CK Mapping | CVSS Vector | CVSS Score | Likelihood | Impact | Risk-Matrix Score | Priority Class | Operational Concern | Validation Status
T-S-001 | Sampled Values publisher spoofing | SV subscriber logic | SV Publisher → Subscriber | Process Bus Boundary | Spoofing | T0849 Masquerading | AV:A/AC:L/PR:N/UI:N/S:C/C:L/I:H/A:H | 9 | 4 | 5 | 20 | High | False measurement injection | Not Validated
T-S-002 | Manipulation of sampled-value payloads | SV measurement stream | Publisher ↔ Subscriber | Process Bus Boundary | Tampering | T0836 Modify Parameter | AV:A/AC:L/PR:N/UI:N/S:C/C:N/I:H/A:H | 9 | 5 | 5 | 25 | Critical | Incorrect electrical measurements | Not Validated
T-S-003 | Replay of captured SV traffic | SV multicast stream | Process Bus | Process Bus Boundary | Spoofing | T0831 Manipulation of Control | AV:A/AC:L/PR:N/UI:N/S:C/C:L/I:H/A:L | 9.3 | 5 | 5 | 25 | Critical | Delayed or repeated measurements | Not Validated
T-S-004 | Timing manipulation of SV streams | Synchronization integrity | Process Bus | Process Bus Boundary | Tampering | T0836 Modify Parameter | AV:A/AC:L/PR:N/UI:N/S:C/C:L/I:H/A:H | 9.1 | 4 | 5 | 20 | High | Measurement synchronization failure | Not Validated
T-S-005 | Passive interception of SV traffic | SV communication | Process Bus | Process Bus Boundary | Information Disclosure | T0842 Network Sniffing | AV:A/AC:L/PR:N/UI:N/S:U/C:H/I:N/A:N | 6 | 4 | 3 | 12 | Medium | Disclosure of operational measurements | Not Validated
T-S-006 | Multicast flooding of SV communication | Process Bus bandwidth | Attacker → Process Bus | Process Bus Boundary | Denial of Service | T0814 Denial of Service | AV:A/AC:L/PR:N/UI:N/S:U/C:N/I:N/A:H | 7.1 | 5 | 5 | 25 | Critical | Process-bus saturation | Not Validated
T-S-007 | Unauthorized SV publisher registration | SV trust model | Attacker → Subscriber | Process Bus Boundary | Spoofing | T0849 Masquerading | AV:A/AC:L/PR:N/UI:N/S:C/C:L/I:H/A:H | 8.8 | 4 | 5 | 20 | High | Trust-boundary compromise | Not Validated
T-S-008 | Suppression of sampled-value traffic | SV communication continuity | Process Bus | Process Bus Boundary | Denial of Service | T0814 Denial of Service | AV:A/AC:L/PR:N/UI:N/S:C/C:N/I:N/A:H | 7.4 | 5 | 4 | 20 | High | Protection blindness | Not Validated
T-S-009 | Falsified current/voltage measurement injection | Protection logic | Attacker → Subscriber | Process Bus Boundary | Tampering | T0836 Modify Parameter | AV:A/AC:L/PR:N/UI:N/S:C/C:L/I:H/A:H | 9 | 5 | 5 | 25 | Critical | Incorrect protection decisions | Not Validated
T-S-010 | Eavesdropping on process-bus measurements | Process-bus traffic | Process Bus | Process Bus Boundary | Information Disclosure | T0842 Network Sniffing | AV:A/AC:L/PR:N/UI:N/S:U/C:H/I:N/A:N | 5.9 | 3 | 3 | 9 | Medium | Exposure of substation operations | Not Validated
SCADA / HMI / Infrastructure Threats
Threat ID | Threat Description | Affected Asset/Process | Communication Path | Trust Boundary | STRIDE Category | ATT&CK Mapping | CVSS Vector | CVSS Score | Likelihood | Impact | Risk-Matrix Score | Priority Class | Operational Concern | Validation Status
T-H-001 | Unauthorized SCADA login attempts | SCADA authentication | Operator → SCADA | CONTROL Boundary | Spoofing | T0849 Masquerading | AV:N/AC:L/PR:N/UI:N/S:U/C:H/I:H/A:L | 8.8 | 4 | 4 | 16 | High | Operator compromise | Not Validated
T-H-002 | Repudiation of operator actions | SCADA operator activity logs | Operator ↔ CONTROL | CONTROL Boundary | Repudiation | T0813 Denial of Control | AV:L/AC:L/PR:H/UI:N/S:U/C:N/I:L/A:N | 2.6 | 3 | 3 | 9 | Medium | Loss of non-repudiation and audit accountability | Not Validated
T-H-003 | Gateway resource exhaustion | Substation gateway / protocol gateway | External Network ↔ Gateway | WAN Boundary | Denial of Service | T0814 Denial of Service | AV:N/AC:L/PR:N/UI:N/S:U/C:N/I:N/A:H | 7.5 | 4 | 5 | 20 | High | Gateway instability causing communication disruption | Not Validated
T-H-004 | Lack of audit logging enables repudiation | SCADA event records | CONTROL Server | CONTROL Boundary | Repudiation | T0813 Denial of Control | AV:L/AC:L/PR:H/UI:N/S:U/C:N/I:L/A:N | 2.6 | 3 | 3 | 9 | Medium | Untraceable malicious actions | Not Validated
T-H-005 | Modification of event logs | SCADA logging service | CONTROL Server | CONTROL Boundary | Repudiation | T0836 Modify Parameter | AV:L/AC:L/PR:H/UI:N/S:U/C:L/I:H/A:N | 5.5 | 3 | 3 | 9 | Medium | Integrity loss of forensic records | Not Validated
T-H-006 | Credential theft through unsecured management services | Operator credentials | Admin network | CONTROL Boundary | Information Disclosure | T0842 Network Sniffing | AV:N/AC:L/PR:N/UI:N/S:U/C:H/I:L/A:N | 7.1 | 4 | 4 | 16 | High | Administrative credential compromise | Not Validated
T-H-007 | Time synchronization manipulation | Time services | NTP/PTP Infrastructure | Infrastructure Boundary | Denial of Service | T0836 Modify Parameter | AV:N/AC:L/PR:N/UI:N/S:C/C:L/I:H/A:H | 9 | 4 | 5 | 20 | High | Event ordering corruption | Not Validated
T-H-008 | HMI service exhaustion through connection flooding | SCADA/HMI availability | External attacker → HMI | CONTROL Boundary | Denial of Service | T0814 Denial of Service | AV:N/AC:L/PR:N/UI:N/S:U/C:N/I:N/A:H | 7.5 | 4 | 5 | 20 | High | Operator visibility loss | Not Validated
T-H-009 | Privilege escalation through insecure remote access | Remote administration | VPN/Admin services | CONTROL Boundary | Elevation of Privilege | T0866 Exploitation for Privilege Escalation | AV:N/AC:L/PR:L/UI:N/S:C/C:H/I:H/A:H | 9.9 | 4 | 5 | 20 | High | Administrative takeover | Not Validated
T-H-010 | Insider repudiation of malicious operational changes | Operator activity tracking | SCADA control environment | CONTROL Boundary | Repudiation | T0813 Denial of Control | AV:L/AC:L/PR:H/UI:N/S:U/C:N/I:L/A:N | 2.6 | 3 | 3 | 9 | Medium | Loss of accountability | Not Validated
T-H-011 | Disclosure of network topology through passive monitoring | Infrastructure mapping | Internal network | Infrastructure Boundary | Information Disclosure | T0842 Network Sniffing | AV:A/AC:L/PR:N/UI:N/S:U/C:H/I:N/A:N | 5.8 | 3 | 3 | 9 | Medium | Exposure of critical topology | Not Validated
T-H-012 | Unauthorized firmware modification of IEDs | IED configuration integrity | Admin → IED | Process Bus Boundary | Elevation of Privilege | T0836 Modify Parameter | AV:A/AC:L/PR:H/UI:N/S:C/C:H/I:H/A:H | 9.4 | 4 | 5 | 20 | High | Persistent device compromise | Not Validated
T-H-013 | Deletion or corruption of security logs | Logging infrastructure | CONTROL Server | CONTROL Boundary | Repudiation | T1070 Indicator Removal on Host | AV:L/AC:L/PR:H/UI:N/S:U/C:L/I:H/A:N | 5.5 | 3 | 3 | 9 | Medium | Loss of incident traceability | Not Validated
T-H-014 | Switch broadcast storm | Layer-2 network switch infrastructure | Process Bus ↔ Network Switch | Process Bus Boundary | Denial of Service | T0814 Denial of Service | AV:A/AC:L/PR:N/UI:N/S:U/C:N/I:N/A:H | 6.5 | 4 | 4 | 16 | High | Network congestion affecting IEC 61850 traffic delivery | Not Validated
T-H-015 | Data leakage through unsecured backups | Backup storage | Backup systems | Infrastructure Boundary | Information Disclosure | T0842 Network Sniffing | AV:L/AC:L/PR:L/UI:N/S:U/C:H/I:N/A:N | 4.9 | 3 | 3 | 9 | Medium | Disclosure of operational data | Not Validated
T-H-016 | Unauthorized shutdown of SCADA services | SCADA service continuity | Internal attacker → CONTROL | CONTROL Boundary | Denial of Service | T0814 Denial of Service | AV:L/AC:L/PR:H/UI:N/S:U/C:N/I:N/A:H | 6.5 | 3 | 5 | 15 | Medium | Loss of supervisory operations | Not Validated